Structural Inspection

October 12, 2007

Location:
2419 Robin Lane

For:
Mr. Jim Griswold

Slidell, LA 70460


202 Beauvoir Ct.

Pearl River, LA 39426

Construction:  

Wood frame with reverse board and batten siding, composition roof shingles, carpet and vinyl flooring.

Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation of the residence.  No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.

History: 

Mr. Griswold contacted Dammon Engineering to perform a structural inspection on the referenced property for the purpose of acquiring a loan on the residence.  

Findings:

This inspection covered visible components (foundation, wall and roof framing) and their ability to support the residence.

Findings:

      Description




Findings
1.  Number of levels



One
2.  Interior gutted 



No

3.  Debris removed



Yes

4.  Floor framing



OK

5.  Roof framing



OK

6.  Wall framing



OK

7.  Sign of rot or termites* present 

None found

8.  Is structure elevated



Yes

9.  Sign of structural damage or distress

No

10. Failure or deterioration of foundation
No

*No termite inspection was performed

Analysis:

This property is in good structural condition.

Conclusion:

No major defects were detected upon inspection.   This property is capable of being restored to its original condition with a minimum of time and investment.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

