DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Structural Inspection

March 6, 2009

For:
Yulynn Williams

59279 Pine Ridge Road

Lacombe, La. 70445

Ref:  30163 Bran Road

         Lacombe, La. 70445

Construction: Two Story, Wood Frame with brick veneer and Composition Shingle roof

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, floors, roof, and foundation of the residence.  No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Ms. Williams contacted Dammon Engineering to request a structural inspection of the residence for the purpose of buying it.  The previous owner was building it and lost it to the bank in an unfinished state.

Findings:

The brick veneer was noted to have a crack in the right front of the residence running vertically where the front porch is located. The concrete front porch was noted to have several small hairline cracks in it.

First, it is significant to note that brick veneer is not structural and that the cracks in the brick veneer, while they are an indication that something has happened, they do not necessarily represent a structural concern.

Secondly, houses and foundations all settle.  Usually everything settles together, and the fastest rate of settlement occurs in the first year after construction.  The house continues to settle and usually by the tenth year this settlement is infinitesimal.  By the fifth or sixth year the settlement has exponentially slowed to where there is little danger that something will happen unless caused by weather, tree roots, etc.

This residence is structurally stable and will probably not show any major settling in the future. The cracks should be sealed with one of the commercial products designed for that purpose.  A non-shrinking mortar, or caulk, should be used to fill the openings to prevent insects from entering the residence. 

Conclusion:

It is my professional opinion that the residence is structurally sound and further settling should be negligible.

** No termite inspection was conducted.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

