Commercial Inspection

Wednesday, December 05, 2007

Owner:

Richard Findley

107 Peninsula Drive

Slidell, LA 70460

Telephone - 985-290-7293

Type:

Commercial 

Location:
3019 Pontchartrain

Slidell, LA 70458

Re:  Post Katrina Structural Inspection

Structure:
Brick walls, with steel truss support, composition roof and concrete slab.

Building measures 39’ 7” across the front and rear, and 81’ 4” deep.

History:

Mr. Findley contacted Dammon Engineering to request a structural inspection of the above named property to verify that it is structurally sound.

Findings: 

   
Description                                            Findings

1.   No. levels




One

2.   Interior gutted



Yes

3.   Debris cleaned



Yes

4.   Roof framing



Very good condition

5.   Floor framing 



NA

6.  Rot or termites* 



None seen*

7.  Elevated  




NO

8.   Signs of structural distress or damage
NO

9.  Failure or deterioration of foundation
NO

* No termite inspection was conducted

Analysis:

We found  this structure to be in very good condition.  It has been gutted and is clean down to the brick.  Several stud walls are remaining.  The roof is in good condition with no missing shingles.  The slab has been cleaned of all floor coverings, both vinyl and ceramic tiles.  There are no visible signs of cracks, or settling of the slab.  The exterior is brick with some temporary plywood covering doors and windows. 

Conclusion:

This structure is in good condition and can be returned to its original condition with minimal investment.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
