DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

INSPECTION

July 6, 2010

Attn: Tax Assessor’s Office
St. Tammany Parish Tax Assessors 

701 North Columbia Street

Covington, Louisiana 70433

Re:
Mike Saitta and Lisa Schell

35373 Pine Street Extension

Pearl River, La. 70452

Assessment # 132-807-3146
Type: 
Residential

History:

Mrs. Lisa Schell contacted Dammon Engineering to request an inspection of the above named property to verify that the Sheet Rock installed was made in China.

Structure: 
One story/wood frame/concrete foundation/brick and stucco siding/composition shingles - residence located on 2.217 acres with a total square footage of 3,434.

Findings:

A visual inspection was conducted of the residence to determine the type of sheet rock that is installed.

Findings:

1. In the attic, the words “Made in China” are immediately and clearly visible on the back of the sheetrock.

2. All the visible copper lines have turned black.

3.  Please see the attached pictures.

Conclusion:

It is our impression that all the same type of sheet rock (Made in China) was used for the walls and ceilings throughout the residence.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

