INSPECTION

July 6, 2010

St. Tammany Parish Assessors 

701 North Columbia Street

Covington, La. 70433

Attn: The Assessors Office
Re: Mike Saitta and Lisa Schell

         35373 Pine Street Extension

         Pearl River, La. 70452

Assessment # 132-807-3146


Type: Residential

History:

Mrs. Lisa Schell contacted Dammon Engineering to request an inspection of the above named property to verify that it has Sheet Rock installed made from China.

Structure: One story/wood frame/concrete foundation/brick and stucco siding/composition shingles residence located on 2.217 with a total square footage of 3,434.

Findings:

A visible inspection was conducted of the residents to determine the type of sheet rock that is installed.

Findings:

1. In the attic it was clearly visible to see the words made in China written on the back of the sheetrock.

2. All the visible copper lines have turned black.

3.  Please see the attached pictures.

Conclusion:

It is our impression that all the same type of sheet rock (Made in China) was used for the walls and ceilings throughout the residence.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

