DAMMON ENGINEERING, INC.
dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

STRUCTURAL INSPECTION

July 23, 2007

For:
Jack Fayard

61357 Hwy 11

Slidell, LA 70458

JJK&A Holdings Corporation

1050 Front Street

Slidell, LA 70458

Phone: 985-781-1151/Cell 985-774-6578

Location:
Residence

415 Robert E. Lee Blvd.

New Orleans, LA

Construction:

Wood frame with brick veneer painted white, composition shingle roof with clay tile along the gable ridgelines, Terrazzo floor.

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof, and foundation of the residence.  No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Mr. Fayard contacted Dammon Engineering to perform a structural inspection on the referenced residential property for the purpose of obtaining insurance.  Mr. Fayard stated that water did enter the residence to a level of approximately 4 to 5 feet during Hurricane Katrina.  The building is approximately 40 to 50 years old.

Findings:

This inspection covered visible components (foundation. Wall and roof framing and their ability to support the residence.

Description





Findings:  

1.  Number of Levels




One

2.  Interior Gutted




Yes

3.  Debris Cleaned




Yes

4.  Floor Framing




Terrazzo

5.  Roof Framing




OK

6.  Wall Framing




OK

7.  Rot or Termites Present * 



Not Found

8.  Is Structure Elevated




NO

9.  Sign of Structural Distress or Damage

NO

10.  Failure or Deterioration of Foundation

NO 

Analysis:

This building flooded when a levy was breached.  The water depth was between 4 and 5 feet.  It has been gutted and cleaned of debris.  All framing is in good condition and the terrazzo floor has no damage.

Conclusion:

This residence is structurally sound and is capable of being restored to its original condition. 

*Note:  No termite inspection was performed.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

