[image: image1.jpg]DAMMON ENGINEERING, INC.

dammonengineering.com

STUDIES

CONSULTING DESIGN

EXPERT WITNESS

1095 Florida Ave.
Slidell, LA 70458

P.O. Box 2830
Slidell, LA 70459

Structural Certification

June 20, 2007

For:
Location:

Chuck Gilpin Development
4382 Gum Street
Slidell, LA 70461

E-Mail Address: Chuckgilpin@hotmail.com

Building description:
Two story, brick veneer, wood frame, composition roof shingles

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors

985-649-5832
FAX 985-641-5950

5

roof and foundation of the residence. No inspection of the mechanical or electrical systems was
performed. This report is as outlined by the National Academy of Building Inspection Engineers
Standards and Practices for Residential and Small Building Property Condition Surveys. This

report is not an explanation of cause, effect or engineering.

Findings:
. Interior gutted

Number of levels

Debris cleaned

Floor framing

Roof framing

Wall framing

Any rot or termite damage

. Is structure elevated

9. Structural distress or structural damage

10. Failure or deterioration of the foundation

11. Exterior siding

s
1
2
3.
4.
5
6
7.
8

No

"Two

Partially

No

Yes

No

None detected
No

No

No

Yes

Several shingles on the right front of the roof are damaged or missing. Remaining carpet should

be removed. Swimming pool should be cleaned. Brick veneer is
cracking or separation.

Conclusion:

sound and shows no sign of

This building is structurally sound and is capable of being restored to it original condition.

P

Sincerely,

7 g/
< YKL
mmett G. (Pete) Dammon, PE

EMMETT G. DAMMON, JR.
License No. 8796

50 é"
K G W
SSIDNAU—“‘ >




