[image: image1.jpg]DAMMON ENGINEERING, INC.

dammonengineering.com

| CONSULTING

DESIGN STUDIES EXPERT WITNESS
1095 Florida Ave. P.O. Box 2830 985-649-5832
Slidell, LA 70458 Slidell, LA 70459 FAX 985-641-5950
Structural Certification

June 20, 2007

For: Chuck Gilpin Development

Location: 4382 Gum Street

Slidell, LA 70461

E-Mail Address: Chuckgilpin@hotmail.com

Building description:
Two story, brick veneer, wood frame, composition roof shingles

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors,
roof and foundation of the residence. No inspection of the mechanical or electrical systems was
performed. This report is as outlined by the National Academy of Building Inspection Engineers
Standards and Practices for Residential and Small Building Property Condition Surveys. This
report is not an explanation of cause, effect or engineering.

Findings:
1. Interior gutted No
2. Number of levels "Two
3. Debris cleaned Partially
4. Floor framing No
5. Roof framing Yes
6. Wall framing No
7. Any rot or termite damage None detected
8. Is structure elevated No
9. Structural distress or structural damage No
10. Failure or deterioration of the foundation No
11. Exterior siding Yes

Several shingles on the right front of the roof are damaged or missing. Remaining carpet should

be removed. Swimming pool should be cleaned. Brick veneer is sound and shows no sign of
cracking or separation.

Conclusion:
This building is structurally sound and is capable of being restored to it original condition.

Sincerely,

4 5 j
?c ¥
mmett G

ete) Dammon, PE




