
Structural Certification

June 20, 2007

For:

Chuck Gilpin Development

Location:
4382 Gum Street


Slidell, LA 70461

E-Mail Address:  Chuckgilpin@hotmail.com
Building description:
Two story, brick veneer, wood frame, composition roof shingles

Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation of the residence. No inspection of the mechanical or electrical systems was performed. This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys. This report is not an explanation of cause, effect or engineering.
Findings:

1. Interior gutted




No

2. Number of levels




Two

3. Debris cleaned




Partially

4. Floor framing




No

5. Roof framing 




Yes

6. Wall framing 




No 

7. Any rot or termite damage



None detected

8. Is structure elevated




No

9. Structural distress or structural damage

No

10. Failure or deterioration of the foundation 

No

11. Exterior siding 




Yes

Several shingles on the right front of the roof are damaged or missing.  Remaining carpet should be removed.  Swimming pool should be cleaned. Brick veneer is sound and shows no sign of cracking or separation.

Conclusion:

This building is structurally sound and is capable of being restored to it original condition.

Sincerely,

Emmett G. (Pete) Dammon, PE

