STRUCTURAL INSPECTION

Friday, June 29, 2007

Type:
Commercial

Re.:
Post Katrina Structural Inspection

Structure:
Two story/wood frame/concrete foundation/vinyl siding/composition shingle roof

Owner:

ECO Builders

Property:
4782 Pontchartrain Blvd

Slidell, LS 70460

History:

Mr. Elwin C. Ordeoyne, lll contacted Dammon Engineering to request an inspection of the above named property to verify that it is structurally sound.  It is required to have a Structural Certificate prior to receiving a construction loan to refurbish this property.

Findings:

1. Several shingles are missing on the west side of the roof.

2. Exterior siding is in good condition.

3. Interior walls are gutted up to four feet above the floor.
4. All insulation has been removed.

5. Wall studs and remaining sheetrock are in good condition.

6. Most debris has been removed.

7. Deck is missing along the bayou.

Analysis:

Water rose to approximately 3 feet in this property.  The property is now open to permit air to circulate freely, and there is no mold.

Conclusion:

This property is capable of being restored to its original structural condition.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

