Structural Inspection

Thursday, August 30, 2007

Location:
513 Portsmouth Dr 


For: 

Jim Griswold

Slidell, LA 70460


Phone: 

985-863-8600

Construction:  Wood frame, brick veneer, composition shingle roof, and concrete floors.

Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors roof, and foundation of the residence.  No inspection of the mechanical, or electrical systems was performed.  This report is as outlined by the National Academy of building inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect or engineering.

History:

Mr. Griswold contacted Dammon Engineering to perform a structural inspection on the referenced residential property for the purpose of obtaining insurance.  This building appears to be less than 30 years old.

Findings:

This residence is a concrete floor and foundation elevated 4-6 inches above grade. 

This inspection covered visible components (foundation, wall and roof framing, and their ability to support the residence.

       Description:



Findings:
1.  Number of levels



One

2.  Interior Gutted



NO

3.  Debris removed



Partially

4.  Floor framing 



OK, Concrete

5.  Roof Framing



OK

6.  Wall Framing



OK

7.  Signs of rot




Not Found

8.  Signs of termites



No Termite inspection performed

9.  Sign of structural Damage/Distress
None

10.  Failure or deteriation of Foundation
NO

Analysis:

This residence is in good condition.  Brick veneer exhibits no signs of cracking or separation.  Exterior edge of the concrete slab does not show signs of cracking or separation.

Conclusion:

It is my professional opinion that this residence is structurally sound and is capable of being restored to its original condition.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

