DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Structural Inspection

July 16, 2009

For: 


Mr. James Franklin

Property Inspected:
65030 Church Street

       


Pearl River, La. 70452

Construction:

Single story, wood frame with brick veneer and composition shingle roof

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, floors, roof, and foundation of the residence.  No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Mr. Franklin contacted Dammon Engineering to request a structural inspection of the above listed residence.  Mr. Franklin was concerned about the ceramic floor cracking and visible hairline cracks in the ceiling. The home is approximately 5 years of age. 

Findings:

The ceramic tiles in both the dining room area and the utility room were noted to have several small cracks.  There are also several hairline cracks noted in the living room ceiling.
The foundation was checked with a Zip Level and indicated a difference from the front door, at zero inches, to the utility room of one and a half inches in the utility room.  All the elevation numbers are provided on the attached sketch.

Analysis:

It is significant to note that ceramic floors and sheet rock are not part of the structural integrity of the home and that the noted cracks, while they are an indication that something has happened, do not necessarily indicate that something is amiss.

Houses and foundations all settle.  Usually everything settles together, and the fastest rate of settlement occurs in the first year after construction.  The house continues to settle and usually by the tenth year this settlement is infinitesimal.  By the fifth or sixth year the settlement has exponentially slowed to where there is little danger that something will happen unless caused by weather, tree roots, improper drainage, etc.

In this case, it is possible that there was initially some differential settlement.  However, ceramic tiles and sheet rock also may crack due to expansion and contraction when the home is exposed to extreme fluctuations in temperatures and/or humidity levels.

Conclusion:

It is my professional opinion that the cracks discussed above do not pose a structural problem and that future expansion/contraction in the ceiling and settlement of the slab will likely be negligible and will not affect the structural integrity of the house.

The majority of settling usually occurs in the first year after construction and gradual settlement then follows for about ten years, after which the structure should be relatively stable.  Settling may also be the result of the local weather conditions causing expansion or shrinkage of the soil.  The brick veneer and other concrete products expand and contract, causing cracks that are not necessarily structural problems.

This residence is structurally stable and will probably not show any major settling in the future.

The cracks in the ceramic tile are likely due to normal settlement of the foundation.  The entire ceramic floor throughout the home should be removed and properly re-installed.  New tile installation should use one of the light weight floor leveling products (fillers) available on the market.  (Unless skilled in this procedure, an experienced flooring technician with experience in floor leveling by this method should be employed.)  In addition to the self-leveling compound, either a cement board underlayment or a new pliable glue that remains flexible should be used, thus allowing the slab move slightly without cracking the tile.

All cracks in ceilings should be re-taped/floated and painted back to a new finish look.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

