DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

December 4, 2006

STRUCTURAL CERTIFICATION

Ms. Denise Jobe, Director

St. Tammany Parish Department of Permits

21490 Koop Drive

Mandeville, Louisiana  70471

RE: Storage Room Foundation


Mr. Tom Griffith


1041 Claire Dr.


Slidell, Louisiana 70458

Date of Inspection:
December 4, 2006

Dear Ms. Jobe,

Mr. Griffith asked that I inspect his storage room foundation and provide you with the following affidavit.

It is my professional opinion that the foundation was designed and constructed (less than 500 s.f. and not requiring an engineer’s design, but not inspected prior to pouring the slab and thus requiring approval of a registered engineer) to be structurally sound and adequate for the use intended, which is a residential storage room.

The inspection was performed by me and this report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation was erected according to provisions of Chapter 4 of the International Building Code, 2003 residential edition.  I hereby assume full responsibility for the compliance with all provisions of the technical code for foundations and all other pertinent laws and ordinances, as pertains to the foundation of the structure.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

