DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

August 12, 2011
Mr. Roe Dietrich

Building Inspector

City Of Slidell

Department of Building Safety

P.O. Box 828

Slidell, LA  70458

RE:
Mr. & Mrs. Burleigh Price 

Two Story Conversion of Residence

680 Carolla Drive

Slidell, Louisiana

Mr. Dietrich,
Dammon Engineering has reviewed Mr. Price’s plans for a two story conversion. The existing first floor shall remain, with the exception of adding a treated sister stud on each existing stud.
Each new treated stud shall have a H8 installed at the top and bottom of each new stud on the existing first floor walls. Contractor shall install new anchor bolts using 1/2” x 9” galvanized all thread rod with nut and square washer embedded in SET22 epoxy with 7” into the concrete @ 28” O.C. 
All other strapping shall be installed as per the plans.
Contractor shall also install two flood vents per face of each exterior wall.

If you have any questions, or require additional information, please feel free to call.

Sincerely,

Chuck Dammon, VP
Dammon Engineering, Inc.
