DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

            May 20, 2009

Mr. Kenneth J. Wortmann, Director

St. Tammany Parish Department of Permits

21490 Koop Drive

Mandeville, Louisiana 70471

RE:
North Shore Volunteer Fire Department

             267 Debbie Drive

             Slidell, La.  

Date of Inspection: May 15, 2009

Dear Mr. Wortmann,

Mr. Elmore Schwandt of the North shore Volunteer Fire Department asked that I inspect the work on an existing steel structure building to install metal siding and doors and provide you with the following affidavit.

It is my professional opinion that the structure is structurally sound and all work was constructed to meet the requirements of the 2006 IBC, and is structurally sufficient for the use intended.   

I performed the inspection and this report is true and correct to the best of my knowledge and belief. This report shall serve as my affidavit that the work was erected according to provisions of Chapter 14 and 15 of the International Building Code, 2006 Commercial edition. I hereby assume full responsibility for the compliance with all provisions of the technical code for this work and all other pertinent laws and ordinances, as pertains to the coverings of the structure in question.

This report does not cover any other aspects of the building such as plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796

