DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

December 14, 2007

To: 
Mr. John Cramer


City of Slidell


Inspection Department

REF: Steve & Greta Abadie

         1380 Tenth Street

         Slidell, La. 70458

Dear Mr. Cramer,

I have meet with the contractor and gone over the list that you had provided to them for an inspection.

1) All studs and rafters shall be strapped with H8’s.

2) All load baring walls shall be fastened down using Titan HD 5/8”x 6” @ 24” O.C.

3) Add (2) 2x12 at roof supports in den area.

4) Add 2x8 in between existing 2x8 in carport area and the den.

5) Powder room @ rear of home shall have a 2x6 stud wall.

6) Window at front and rear door shall be safety glazed.

Sincerely,

Chuck  Dammon

Dammon Engineering

