DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

July 7, 2006

STRUCTURAL CERTIFICATION

For:
Savoie & Luttrell

Location:
Lauren Plaza Shopping Center

4006, 4020, 4042 Pontchartrain Dr.



Slidell, Louisiana 70458

Description: 120,000 SQFT. Commercial property constructed of CMU outer walls and red brick fascia. The building is divided in to four sections with CMU walls and it has a pressurized fire suppression. 

To Whom It May Concern:

This letter is to certify that the commercial property outlined above, at the above address is structurally sound and is capable of being restored from Hurricane Katrina damages.

Sincerely,

Emmett Dammon

La. License 8796

