Inspection on February 31, 2007

Kirt and Chuck
Install correct number of SP1 and SP2 metal strapping.

Weld sonna tube rebar to brackets fastened to the floor rafters.

Roof framing not supported properly. Knee walls not installed in the right places.
Roof is not constructed per drawing.

Breakaway walls not installed.

Second floor living area east side of the home not level, 2X4 top plates sagging.
Stairs to second floor living area not built to code. Risers not correct.

