DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 14, 2006

STRUCTURAL INSPECTION

For:
Bradley Stringer

Location:
136 Woodcrest 



Slidell, La. 70458

Building Description:  wood frame, conventional concrete foundation and raised concrete pilings, felt paper roof.

Scope: 

This inspection is limited to a visual inspection of the framing and foundation of this residence.  

History:

Mr. Stringer contacted Dammon Engineering to perform a structural inspection on the referenced residential property.  Mr. Stringer stated that he is under a contract with Bobby Creel Contracting to build his home. The building is approximately three thousand square feet and currently in the framing stages of construction. 

Since Dammon Engineering was commissioned by Bobby Creel, the contractor, to redesign the plans for the house, there is a question of a “conflict of interest” for our firm to be working for the owner and we advise him to discuss this with his attorney.  We are providing this document, and also contacted the contractor at the job site, at which time he said he was going to fix the problems.
Findings:

This inspection covered visible components (foundation, wall and roof framing) and their ability to support the home.

1. Structural concrete columns are poured in stages and are not secured to the concrete foundation.

2. Structural concrete columns are egg shaped and non dimensional. See Photo 18

3. Structural concrete columns are out of plumb. See Photo #8

4. Structural concrete columns missing. See Photo #25

5. The wood floor beams are not positioned properly on top of the concrete stanchion. See Photo #7,10,12,14,15,16,17,19,23.

6. Wood floor beams do not meet the concrete stanchion. See Photo #2,16,19,23

7. The headroom on the main stairs does not meet the IBC. See Photo 27

8. The sauna tubes were not positioned properly on the concrete foundation and the concrete poured into the sauna tubes flowed out the bottom. See Photo #26,28,31.
9. The 2x4 top plate does not rest on the corner post. See Photo 32

10. The floor beams do not meet and has a large gap held only by nails. See Photo # 12

Recommendation and Conclusion
Hire a competent foundation contractor to repair the concrete piers.

Sincerely,

Emmett Dammon

La. License 8796
