DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

October 31, 2006

STRUCTURAL CERTIFICATION

For:
Todd Barattini


985-640-8551

Location:
2346 and 2348 Ciruti St.



Slidell, La. 70458

Building Description:  wood frame, conventional foundation, shingle roof, brick veneer

Scope: 

This inspection is limited to a visual inspection of the exterior walls, exterior roof and foundation. No inspection of the mechanical or electrical systems was performed.

History:

Mr. Barattini stated that water did enter the building to an approximate height of four feet during Hurricane Katrina.  The building is approximately thirty-five years old.

Findings:

This inspection covered components and their ability to support the home.

1. Number of levels




One

2. Interior gutted




Repaired

3. Debris cleaned




Yes

4. Roof framing ok




Not inspected

5. Wall framing ok




Not inspected

6. Any termite damage



Not inspected

7. Is building elevated



No

8. Foundation ok




See analysis

9. Exterior brick veneer ok



See analysis

Analysis:
See Item #8 - There are foundation cracks in the front of the home near the door to 2346 Ciruti St.  Also, the sidewalk and parking area is cracked and sinking in the same area as the crack in the foundation.

See Item #9 - The brick veneer and mortar between the bricks is cracked on the north, east and west sides of the home, near the front door.

The settling and sinking of the sidewalk and parking area in front of 2346 Ciruti St. is in direct relationship to the settling and cracking of the foundation.  Removal of the sidewalk and parking areas is required to backfill the affected area.  Many of the cracks in the brick mortar are caused by expansion and contraction.  Repointing is required to seal the brick veneer.
Conclusion:

I certify the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett Dammon

La. License 8796
