DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

January 22, 2007
STRUCTURAL IINSPECTION
For:
Summer Himber

H 985-641-3396

C 985-788-3395
Location:
3046 N. Palm Dr.


Slidell, Louisiana  70458

Building Description:  wood frame, concrete foundation, composite shingle roof.
Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation as designed by the engineer. No inspection of the mechanical or electrical systems was performed.

The following findings were noted:

The notes on drawing D-1 of the first floor (ground floor) construction drawings specified double studs on the new interior walls and all exterior walls by the design engineer.  The contractor did not construct the residence according to this part of the design. The design criteria was based upon the Wood Frame Construction Manual and the double studs on the first floor are at the discretion of the engineer.  Removal of the double stud requirement and allowing the single stud construction meets the design criteria of 2003.  In order for the contractor to complete the construction of the residence in a timely manner (by the date required by FEMA) Dammon Engineering is removing the requirement of the double studs as of this date.

Rainwater is still entering the roof flashing at the fireplace.

The exterior doors in the master bed room are not installed properly.  Gaps exist under and around the doors.  These gaps will allow wind-blown water to enter the home.
The vertical car rails of the elevator are rusted and need to be refurbished and maintained.
Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License 8796

