DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Structural Inspection

May 19, 2009

For: 


Mr. Pete Adams

Property Inspected:
36466 Rheusaw Crawford Road

       


Pearl River, La. 70452 

Construction:

One Mobile Home Trailer, with two wood frame additions in the rear and a front porch with all metal roofing.

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, floors, roof, and foundation of the residence.  No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Mr. Adams contacted Dammon Engineering to request a structural inspection of the above listed residence. Mr. Adams was concerned about the structure of the home. The home was hit by a tornado and damage occurred.    

Findings:

Approximately 40 % of the metal roof panels are missing on the residence. Several water stains and mold were noted in the ceilings of the rooms of the residence. Water stains and mold were also noted in several locations of the walls and floors in the residence. A major part of the roof located on the right rear addition is missing and water has intruded and caused major mold growth. Several doors and windows in the residence are not functioning properly due to racking of the high winds of the tornado. Several piers for the mobile home and front porch were noted to have shifted. The rear entrance stairway has shifted also.    

Analysis:

The mobile home itself has racked and therefore must be re-leveled prior to any repairs being accomplished. In order to properly level the mobile home the two additions in the rear and also the front porch must be removed to allow re-alignment and leveling of the unit. Once the leveling of the mobile home is accomplished the additions and porch can be reinstalled.

Although the owner has taken several steps to stop the intrusion of water by covering the exposed roof framing of the residence with a blue tarp and trying to dry out the residence, mold has proceeded to grow at an alarming rate. All interior walls, ceilings, flooring and insulation in walls and under the residence must be removed prior to any repairs. All exterior siding must be removed to replace any mold-ridden materials. Replace all material with new.   

Conclusion:

It is my professional opinion that once all repairs are made the residence will be safe to occupy.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

