DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 25, 2006

STRUCTURAL CERTIFICATION

For:
Bernice Andrews


985-893-7115

Location:
71218 Packet Place



Abita, Louisiana  

Description:    Single residence, wood frame on concrete foundation, brick facod, shingled 

roof.

To whom it may concern: 

Mrs. Andrews contacted Dammon Engineering to perform a structural certification on the above property.  She stated that there were cracks in the brick on the south side of the residence.

Findings:

1. There is a fracture in the brick at the bathroom window. No cracks in the foundation were found.

2. The south brick wall between the fence and the front of the home has separated from the foundation leaving a gap of approximately 1/16th of an inch. The brick nor the foundation is cracked nor has there been movement in the foundation other than normal settlement. The interior of this wall shows no signs of movement or cracks.

3. The corner brick ledge on the east wall has cracked and separated. This is a normal situation in a concrete foundation for this region.

Analysis: The cracks in the brick, the slight movement of the wall with no signs of cracking of the foundation, was likely caused by wind pressures present during hurricane Katrina

Conclusion: It is my professional opinion that this dwelling is structurally sound. The cracks in the brick should be sealed to prevent insect infiltration.

Emmett G. (Pete) Dammon, P.E.

La. License 8796

