DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 25, 2006

STRUCTURAL CERTIFICATION

For:
Bernice Andrews


985-893-7115

Location:
71218 Packett Place



Abita, Louisiana  

Description:    Single residence, wood frame on concrete foundation, brick façade, shingled 

roof.

History:

Mrs. Andrews contacted Dammon Engineering to perform a structural certification on the above property.  She stated that there were cracks in the brick on the south side of the residence.

Findings:

1. A crack was noted in the brick at the bathroom window.

2. No cracks in the foundation were found.

3. The south brick wall between the fence and the front of the home has separated from the foundation leaving a gap of approximately 1/16th of an inch.  Neither the brick nor the foundation is cracked nor has there been any apparent movement in the foundation other than normal settlement.  The interior of this wall shows no signs of movement or cracks.

4. The corner of the foundation has chipped off under the brick.  This is a normal occurrence in concrete foundations in this region.

Analysis:

The cracks in the brick and the slight movement of the wall, with no apparent cracking of the foundation, indicates that some other force caused the cracks and movement of the brick veneer.  This could have been due to the high winds of Hurricane Katrina, or an object hitting the brick.
Conclusion:

It is my professional opinion that this dwelling is structurally sound.  The cracks in the brick should be sealed to prevent insect infiltration and the wall should be observed over a period of time.
Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License 8796

