To Dean Born

City Of Slidell

…………….

Ref: Mike Bourg

        Spartan Trace

        105 Sabre Ct.

        Slidell, La. 

Mike Bourg called and asked us to inspect the roof rafters for his new house that failed the framing inspection from the City Of Slidell. The owner called us and asked us to inspect the roof rafters, due to some of them not seating properly against each other. I personally meet the owner at the site and inspected the C.J. in question. 

The remedy to correct this problem is to use the Simpson Strong Tie LS50 at every C.J. that has been noted to have separation. 

Please call with any question…………………..

