12-22-06

Bob White

760 Gause Blvd.

Slidell, La. 70458

The City Of Slidell inspected the new roof framing installed on this bldg. by the contractor and found that it was not in compliance. The owner Bob White called us and asked that we inspect the framing of the new roof to inform him on what is needed. Per our inspection the items noted shall be completed.

Install Simpson Strong Tie SP-2s at the top plate and SP-1s at the bottom plate where new supporting knee walls are constructed. Install H-8s from the top plate to all the roof rafters. Where the 2x4 knee walls are attached to the bottom 2x12 or 2x6 plate use a #A23 to secure it. Where new knee walls are constructed, install 2x4 cross bracing all along knee wall. Where end walls are constructed install 2x4 strong backs. 

Contractor shall verify that all new framing for the roof is properly strapped and braced. Although all attempts were made to ensure proper strapping during or inspection for these loads the contractor shall be responsible for any other requirements that the City of Slidell recommends. 

Emmett Dammon

