DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

December 28, 20066
STRUCTURAL CERTIFICATION

For:

Mr. Roy Stubenrauch
Location:
215 Legendre


Slidell, Louisiana  70460
To Whom It May Concern:
The following recommendations are not site-specific.  This particular home may or may not need to address any of the following recommendations.  These standard recommendations are for all storm affected structures in Louisiana and Mississippi, and should be implemented in any applicable areas of deficiency.  These recommendations include but are not limited or restricted to:

In all areas affected by floor water and/or rain water, replace wall and/or ceiling coverings and insulations, any permeable floor coverings, any affected and permeable cabinetry and countertops.


Clean and disinfect all non-permeable surfaces and fixtures.

Clean and mold mediate all wood surfaces (i.e. framing) which were subjected to water.

Have electrical, plumbing and mechanical systems inspected and, if necessary, repaired or replaced by licensed contractors.

Replace any areas of termite damaged wood.

Repair or replace any mis-aligned door and/or window frames.

Install hurricane straps to, at a minimum, meet the building code in effect when the home was constructed.

Repair or replace damaged external environmental protection (i.e. siding, face brick, etc.)

Replace any damaged eaves, soffits, roof tiles, water barrier, and roof decking.

This inspection covered structural components (foundation, wall and roof framing) and their ability to support the home and replacement materials only.

Site specific observations follow:



Description



Problem areas
1. Number of levels



One

2. Interior gutted




Yes

3. Debris cleared




Yes

4. Wall framing ok?



Yes
5. Roof framing ok?



Yes
6. Any evidence of termite damage
?

No

7. Is building elevated



No

8. Type of foundation (slab, pier, pile)

Slab

9. Foundation ok?




Yes 

10. Exterior environmental protection ok?
 
Yes
The residence is fully capable of withstanding the repairs and modifications required to once again make it habitable.  Modification of the floor plan or addition of another story was not considered.
Sincerely,

Emmett Dammon

La. License 8796

