DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS

1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

March 25, 2010
Lafayette City – Parish Consolidated Government

Department of Planning, Zoning and Codes

220 W. Willow Street, Building B

P.O. Box 4017-C

Lafayette, Louisiana  70501
RE:
Swimming Pool Constructed at

629 Camellia Drive



Lafayette, LA  70503

Dear Director,

The undersigned is a Professional Engineer, duly licensed by the State of Louisiana.  In the capacity as a licensed engineer, the undersigned hereby represents, warrants and certifies to Lafayette City-Parish Consolidated Government (“LCG”) as follows:
1.  That I am familiar with and knowledgeable of the swimming pool constructed at 629 Camellia Drive (the “Pool”); and

2. That I have reviewed the construction plans and drawings for the Pool, including but not limited to the metal bonding plan; and

3. That I have inspected the construction of the Pool or have conducted independent investigations with respect to the construction of the Pool necessary to formulate the opinions set forth herein; and

4. That it is my professional opinion, as an engineer licensed by the State of Louisiana that construction of the Pool, including but not limited to the bonding systems for the Pool have been constructed and installed in accordance with the requirements of the National Electrical Code (as of the date hereof) and fully comply with the requirements of the National Electrical Codes (as of the date hereof).

In delivering the foregoing statements and opinions, the undersigned acknowledges and agrees that LCG shall rely (and the undersigned consents to such reliance) upon such statements and opinions in connection with the issuance of a final inspection or approval with respect to the Pool and that LCG will not issue and would not have issued, such final inspections or approvals without the material inducement of the statements and opinions of the undersigned made herein.
Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796

