Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

November 21, 2008

Mr. Otis Ramke

Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA 70806

RE:  
P0337937


HIGHLANDS INDUSTRIAL PARK

Dear Mr. Ramke,

With regard to the above referenced project.  Changes in the office layout have been changed.  The allowed travel distance for a single exit in business is 100 ft.  The change in office layout created a maximum travel distance of 82’-6” for this project.  

Please see attached.   

If you have any questions, please feel free to call.

Sincerely,

David Dammon

Project Manager

