DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

September 18, 2008

Department of Public Safety And Corrections

Office of state Fire Marshall Code Enforcement And Building Safety

8181 Independence Boulevard

Baton Rouge, La. 70806

Attn: Donna Leblanc

          Mechanical Engineer

Re: P0351857

       Platform Crane Office Building

       60461 Doss Drive

       Slidell, La. 70458

Mrs. Leblanc

The Following are our responses to the letter dated September 1,2008. Also please see the responses from Jefferson Sprinkler.

1. The doors and walls located in the warehouse are 1 hour rated with self-closing mechanisms.

The sprinkler system is a monitored system. 

4. Please see the attached manufacturer data sheet for the underground pipe.

Chuck Dammon 

Dammon Engineering

