Here are the answers to the questions.
 
Thanks
Chuck
 
 
Window D-2 shall be 6’x10’ metal frame due to the size and shall be white in color.
 
Metal bldg.- Contractor shall submit shop dwg.s of the metal bldg to the owner for approval to verify window and door locations. The metal columns shall be 4”x4”x1/4” shop primed. The mezzanine shall be attached to the bldg and be part of the metal bldg. design/submittal.
 
Lime stone – Shall be installed from the front of the bldg to the rear of the site all with in the swale as noted on dwg C-2. 1. Prepare a compacted base of sandy clay, or if using native material add soil cement or lime. Geotextile fabric could be beneficial but it is not necessary. 2. Install 2” 6/10 limestone. 3. Install 1” to 1-1/2” #57 limestone over the 6/10.
 
 
Use standard storm Drainpipe. 
 
Section S-1- refer to dwg S-1. Foundation general notes; note #2.
 
The interior and exterior railings shall be vinyl and meet all codes. Contractor shall submit shop dwgs to the owner for approval. 
 
The front porch shall be part of the metal bldg. submittal package. Contractor shall submit shop dwgs to the owner for approval.
