March 14, 2008

Eric Giroir

Assistant Director of Permits

City of Slidell

2055 Second Street

Slidell, Louisiana 70458

RE: Brice Jones

        Robert Rd.

        Slidell, La.

Dear Mr. Giroir:

We have opted to use the storm board on this project in lieu of the Simpson straps on the exterior walls as detailed on our dwgs. The nailing pattern is 3” on exterior and 6” on the interior of the sheathing. 

If you have any questions or require any further information, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager

CKD:clh

Camellia Gardens Page 1 of 1

