DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

March 14, 2008

Eric Giroir

Assistant Director of Permits

City of Slidell

2055 Second Street

Slidell, Louisiana 70458

RE: Brice Jones

        Robert Rd.

        Slidell, La.

Dear Mr. Giroir:

We have opted to use the storm board on this project in lieu of the Simpson straps on the exterior walls as detailed on our dwgs. The nailing pattern is 3” on exterior and 6” on the interior of the sheathing. 

If you have any questions or require any further information, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager

