## POOL CALCULATION
Pool Calculations
Length |  |  | Width | W |  | Avg Depth |  | Perimeter LF |  |  | Total SF |  | Excavation CF |  |  | Excavation CY |  |  | Gallons |  |  | Skimmer Area | Skimmer Calculation | Skimmer Required |  | Standart Rated
33 |  |  | 12.5 |  |  | 4.5 |  | 91 |  |  | 412.5 |  | 1856.25 |  |  | 69 |  |  | 13886 |  |  | 500 | 0.825 | 2 |  | Return | 8 | fps
[26 empty] | Suction | 6 | fps
Wall Thick |  |  | Bar Diameter |  |  | Qty |  | Inches OC |  |  | Total Lbs |  | LB per LF |  |  | Lap Factor |  |  | Gunite |  |  | Inlets frs | Inlets Calculation | Inlets Required
0.83333 |  |  | 3 |  |  | 2 |  | 12 |  |  | 657 |  | .376 |  |  | 106.2% |  |  | 29 |  | CY | 8 | 4.8215 | 4
|  | Length |  |  | Width | W | No. of Courses |  |  | Total Pieces |  | Total SF |  |  |  |  | Plaster | Marcite 100# |  |  |  | Size Piping |  | Size Piping
Tile |  | 6 |  |  | 6 |  | 1 |  |  | 182 |  | 46 | [5 empty] | 29 |  |  |  | Suction |  | Return
Coping |  | 12 |  |  | 4 |  | 1 |  |  | 273 |  | 91 | [5 empty] | Portland 94# | W |  |  | Flow Rated | 19.2861 | Flow Rated | 38.5722
[18 empty] | 21 |  |  |  | Pipe Inside Diameter | 2 | Pipe Inside Diameter | 2
Pump Heater |  | Gallons |  |  | Turn Rate |  | GPM |  | Head |  | Pump |  | Heater |  |  |  |  | Diamond Brite |  |  |  | Water Velocity | 1.9672 | Water Velocity | 3.9344
|  | 13886 |  |  | 2314.3333 |  | 38.5722 |  | 50 |  | 1.5 | HP | 200 | BTU |  |  |  | 46
[5 empty] | 6 | HRS | [15 empty] | Light Area Req. | Light Calculation | Light Required
[22 empty] | 500 | 0.825 | 2
pl
SPA Calculations | [21 empty] | Calcutations Estimated Total Dynamic Head Loss
Length |  |  | Width | W |  | Avg Depth |  | Perimeter LF |  |  | Total SF |  | Excavation CF |  |  | Excavation CY |  |  | Gallons |  |  | Pool Volumen | 13886 | Galons
[11 empty] | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | Minimun Flow Rated | 8 | Hrs | 60 | Minutes | 28.9292 | GPM
[22 empty] | Specify Flow Rated | 40 | GPM
Wall Thick |  |  | Bar Diameter |  |  | Qty |  | Inches OC |  |  | Total Lbs |  | LB per LF |  |  | Lap Factor |  |  | Gunite |  |  | Suction Loss Calculation
0.83 |  |  | 3 |  |  | 2 |  | 10 |  |  | 0 |  | .376 |  |  | 106.2% |  |  | 0 |  | CY | Main Drain Branch Line | 5 | Total Liner Feet Of Pipe |  | Pipe Size |  |  | Feet Of Head
[22 empty] | Main Drain Truck Line | 100 | Total Liner Feet Of Pipe |  | Pipe Size |  |  | Feet Of Head
Spa |  | Length |  |  | Width | W | No. of Courses |  |  | Total Pieces |  | Total SF | [5 empty] | Spa Plaster | Marcite 100# |  |  | Manifold | [6 empty] | Feet Of Head
Tile |  | 1 |  |  | 1 |  | 1 |  |  | 0 |  | 0 | [6 empty] | 0 |  |  | Main Drain |  |  | Manufacture's Specifications |  |  |  | Feet Of Head
Coping |  | 1 |  |  | 1 |  | 1 |  |  | 0 |  | 0 | [6 empty] | Portland 94# | W |  |  |  |  | Total Dinamic Suction Loss |  | 0 |  | Feet Of Head
0
Autofill |  |  | 0 | EA | Sand Filter |  | 2.2 | SF | [10 empty] | Diamond Brite
Main Drain |  |  | 0 | SET | DE Filter |  | 24 | SF | [10 empty] | 0
Skimmers |  |  | 0 | EA | Cartridge Filter |  | 75 | SF
Returns |  |  | 0 | EA | Pool Cleaner |  | yes
Air/Water Jets |  |  | 0 | EA | Large Light |  | 0 | EA
Air Blower |  |  | 0 | EA | Small Light |  | 0 | EA
PUMP |  | Pump Output (GPM) vs. Total Resistance To Flow (Feet of Head) | [10 empty] | HEATER |  | Pool Size -Square Feet
Gallons per Minute | HP | 20 ft |  | 30 ft |  | 40 ft | 50 ft |  | 60 ft |  | 70 ft |  | Rise per Hour | BTU | 500 |  | 650 |  | 800
| 0.5 | 55 |  | 45 |  | 29 | -- |  | -- |  | -- |  |  | 200 | 1 degree |  | 1 |  | -
| 0.75 | 67 |  | 58 |  | 47 | 31 |  | -- |  | -- |  |  | 250 | 1.5 |  | 1.5 |  | -
| 1 | 85 |  | 76 |  | 65 | 50 |  | 27 |  | -- |  |  | 350 | 2 |  | 1.75 |  | 1
| 1.5 | 97 |  | 90 |  | 80 | 67 |  | 50 |  | 10 |  |  | 400 | 2.5 |  | 2 |  | 1.25
| 2 | 116 |  | 111 |  | 99 | 85 |  | 70 |  | 51 |  |  | NOTE: Allow 1 - 1 1/2 degree per hour
| 2.5 | 109 |  | 109 |  | 104 | 95 |  | 84 |  | 69
With 30 feet of head and 46.7 GPH we would use the .75 HP (always go to the higher size GPH, 58 in the example).