August 15, 2006

Mr. Joe France

St. Tammany Parish

Department of Permits

21490 Koop Drive

Mandeville, La. 70471

Re: 
S06-2245V

Tad Mondale

Rigolets Estates

52597 Hwy 433

Slidell, La. 

Dear Mr. France,

1) The 2x6 walls and fastening system meet requirements for breakaway walls.

2) The owner has sprayed all material under the flood elevation with copper napthanate solution this will meet all current criteria for breakaway walls.

 3) Galvanized straps were used in lieu of bolting the framing to the columns. This method is approved.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796       

