August 15, 2006
Mr. Joe France

St. Tammany Parish

Department of Permits

21490 Koop Drive

Mandeville, La. 70471

Re: 
S06-2245V

Tad Mondale

Rigolets Estates

52597 Hwy 433

Slidell, La. 

Dear Mr. France,
I have reviewed the documents that you had given to Mr. Mondale with regard to the above referenced project.  Mr. Mondale shall comply with all Items as outlined in your correspondence and listed below:
· This building shall be built per the IRC 2003 code.

· All windows shall be covered with wood structural panels.

· All parking areas underneath shall have 5/8” type “X” sheetrock.

· All requirements shall be met for means of egress.

· All requirements shall be met for guards.

· All requirements shall be met for smoke alarms.

· All requirements shall be met for site address.

· All requirements shall be met for Flood Resistant Construction, Floors and Walls.

· All requirements shall be met for FEMA V zones.  The drawings indicate that a brick veneer shall be used.  There will be no brick veneer siding for this project.
· All requirements shall be met for the elevated platforms.

· The existing foundation shall be saw cut 1 ½” deep from column to column, so that this will not be an obstruction under the B.F.E.

· The existing plumbing in the foundation shall be removed so as to have minimal risers per code.

If you have any questions, or require any further information, please feel free to call.
Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796       

