August 13, 2007

Mr. Joe France

St. Tammany Parish

Department of Permits

21490 Koop Drive

Mandeville, La. 70471

Re: 
S06-2245V

Tad Mondale

Rigolets Estates

52597 Hwy 433

Slidell, La. 

Dear Mr. France,

With regard to the referenced project, please note the following:

1) The 2x6 stud walls at 16” o.c. in lieu of the 2x4 walls and fastening system meet requirements for breakaway walls.

2) The owner has sprayed all material under the flood elevation with copper napthanate solution, meeting all current criteria for breakaway walls.

3) Galvanized straps (USP NER 505 PAHD 42) and bolting were used to connect the framing to the columns; this method is approved.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796       

