                                        Addendum #1

December 15, 2004

Mr. & Mrs. Buras          643-8402

2135 2nd street

Slidell, La.

1) Carpet in bathroom

2) Closet door shall swing in

3) The new addition shall have all sheet walls and ceilings

4) Vanity in bathroom shall be ADA type with big surface

5) Mirror over vanity

6) Vinyl siding shall be by others

7) Medicine cabinet in bathroom

