August 18, 2004

Ruby Kurz

3046 North Palm

Slidell, La.

Dear Mrs. Kurz,
Our original design for the new concrete foundation in the rear of the house was to use concrete pilings that were specified by PSI.  We have contacted PSI and verified that we can use wood pilings (Class 9, 30’) in lieu of concrete pilings.  PSI had specified concrete pilings due to the limited space at some residences in Palm Lake, your specific lot will allow for a pile driver to have access to the rear of the property.

Also, the front porch had to be modified to accommodate the 25’ setback.  We have revised it to accommodate this arrangement.  If you would like a different arrangement, please have your Architect work with you to resolve this issue.

If you have any questions, please call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

