Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

May 6, 2005

Mr. Don Audibert

Design Contractors

1402 Corporate Square Blvd.

Slidell, LA  70458

RE:
Chris Struppeck

120 E. Pearl Drive

Roof Ventilation

Dear Don,

With regard to the above referenced project, please install two electric vents in the attic.  The owners have specified a name brand to use, please adhere to their specifications.

Also, according to the manufacturer’s formula for the soffit vents that were installed, the house requires 1,200 square inches of ventilation.  The subcontractor installed soffit vents totaling 1102.8 square inches, leaving a shortage of 97.2 square inches.  Please have the subcontractor install 4 more 2 foot sections of ventilated soffit to make up this difference.

Please feel free to call me with any questions you may have.

Sincerely,

Chuck Dammon

VP/Project Manager

