





Tuesday, March 29, 2005

Mr. Jackson,

Attached to this file is an Electrical Layout for your review.

Things to look at are as follows:

· Front Porch – Would you like Recessed lights or surface mounted lights?

·                         Additional fans?

· Rear Patio – Recessed lights or surface mounted lights?

·                         Additional fans?

· Great Room Lights? 

· Location of floor outlets in Kitchen & Great Room?

· Location of breaker panel in Garage?

· Locations of Phone & Cable Jacks in bedrooms?

· Location of exterior outlets?

· Would you like to remove the computer desk and slide pantry over to make more counter/cabinet space?

We are currently working on the Foundation plan and should have it ready this week also the Mechanical & Plumbing Plans.

Are there any floor drains you would like to have, in Garage or Utility Room or Porch areas?

Also, can you let us know about locations of hose bibs on exterior walls?

Regards,

Chris R. Ford

Dammon Engineering

