May 3, 2005

SGS Construction, inc.

Attn: Roy Stubenrauch

RE: Mclane residence

       3026 South Palm

       Slidell, La. 70458

Roy,

Per our conversation this morning, fill, as a minimum quality, shall be 40% clay and 60% sandy mixture, placed in 6” lifts and compacted to minimum 95% standard proctor.  The new footings on the bayou side shall extend into natural earth approx. 12”. 

 The new foundation against the existing foundation shall have 24” #5 bars into the existing foundation @ 18” O.C. 12” into the existing slab.  Approximately 18 #5 bars.

If you have any other questions, please feel free to call.

Thank you,

Chuck Dammon

