DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish trial








     985-649-5832

Slidell, LA 70458







            FAX 985-641-5950

January 4, 2012

Mr. Bill Carrigee

407 Hwy 90 Suite J

Waveland, MS. 39576

Re:
NJB Home Builders, LLC

Permit #15901

218 W. Second St.

Waveland, MS. 39576

Mr. Carrigee, 

Per your request, we have a recommendation for the LVL's attachment to the 10x10 wood post. 
We recommend one Simpson Strong-Tie HL-76 at each location of the LVL and 10x10 wood post. HL-76 require 8 galvanized lag bolts with a minimum of 5” long be installed per connection. 
In addition, one 5/8” galvanized bolt, washer, lock nut and nut shall be installed on the exterior LVL to 10x10 wood post connection.

Sincerely,
Emmett G. Dammon 

License No. 9652

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


