Dammon Engineering, Inc.

www.dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

February 27, 2007

Ms. Rose Linzell

Department of Health and Hospitals

St Tammany Parish Environmental Health
105 Medical Drive, Suite 101 
Slidell, LA 70461

RE:  
Plans Review for Mount Olive Feeding Ministry

Dear Ms. Linzell

Please find the answers to your letter dated February 26, 2007:

1. Handwash sink in the service area.  

There is no handsink in the service area because this is a self service line.  

2. Minimum size of grease trap is 250 gallons.  

The plans have been changed to reflect a 250-gallon grease trap.

3. 3-compartment sink does not show air gap.  

The plumbing drawing shows the 3-compartment sink needing detail #1.  Detail #1 shows an air gap with a minimum separation of 4”.  Please see attached detail #1.

4. Dumpster area does no have hot and cold water and drain connected to grease trap.   

The plumbing drawing note #2 states “HOT AND COLD WATER IS TO BE PROVIDED NEAR THE DUMPSTER PAD AND A DRAIN THAT CONNECTS TO THE GREASE TRAP WILL BE INSTALLED.”   The plumbing drawing also has a detail #4 that shows the dumpster pad area connecting to the grease trap.  Please see attached plumbing notes and detail #4.

Sincerely,

David Dammon

Project Manager

