March 12, 2007

Attn:
Mr. Paul Carol

Hydrology Engineer

St. Tammany Parish 

Department of Engineering

P.O. Box 628

Covington, La. 70434

Re:
 South Seas Chinese Restaurant

Dear Mr. Carol,
Below are the new cut and fill calculations for the above referenced project.
1.  The average depth using the BFE of eleven feet are figured to be .7’ 

     Bldg., 8,000 sq.ft. X .7’ divided by 27 = 207 cu. ft. 

     Area of mitigation, 2,900 sq.ft. X 2.02’ divided by 27=216 cu. ft.

2.  The area that is needed shall be approximately 33.5’x 68’ and have a depth of 2.02’

     and shall drain directly into the ditch located on the southeast corner of the property.

If you have any questions, or require any further information, please feel free to call.

Thanks,

Chuck Dammon

VP/Project Manager
