According to the Public Health-Sanitary Code; Louisiana Administrative Code dated: June 2002;  

Chapter 33: Garbage, Rubbish and Refuse

Section 3307: Cleaning and Storage

Subparagraph C.  Suitable cleaning equipment and supplies such as high-pressure pumps, hot water, steam and detergent shall be provided as necessary for effective cleaning of equipment and receptacles.

Subparagraph D.  Liquid waste from the cleaning operation shall be disposed of as sewage. Methods used for this disposal shall prevent rainwater and runoff from entering the sanitary sewerage system.  Dumpster pads may be elevated or curbed, enclosed or covered, and the sanitary sewerage drain protected with a proper cover.

Subparagraph E.  If approved by the state health officer, off-premises-based cleaning services may be used if on-premises cleaning implements and supplies are not provided.

AUTHORITY NOTE:  Promulgated in accordance with R.S. 40:4

HISTORICAL NOTE:  Promulgated by the Department of Health and Hospitals.  Office of Public Health, LR 28:330 (Feb 2002), amended LR 28:1424 (June 2002).

