Gas and Convenience Store

The serving line is a traditional line like any other store.  Here are some requirements for the store:

a. Must have own entrance from outside and sign above door.

b. Store can be accessed from Convenience Store but opening must be no more than 10 feet.  The space must have a rolling grille to separate spaces when Quiznos not in use.  This opening must also have a Quiznos sign.

c. The floor tile need to match the Convenience side as to not have a difference in height(i.e. ceramic or vinyl).

Some of the items may be shared between this store and the Convenience Store like:

a. Freezer/Cooler however sufficient space must be allocated to Quiznos to meet their requirements

b. 3 Comp Sink

c. Mop Sink

d. Bag-N-Box and CO2

e. In some cases the drink dispenser (some other requirements must be met)

f. Restrooms can be shared.

g. HVAC

