QUESTIONAIRE FOR QUIZNOS BUILDOUT

Please reply to following information via email at dammoneng@bellsouth.net .

Does this property have a physical address?  Which suite is Quiznos going into?

Is the building sprinkled?

How much A/C is being provided for tenant if any?

If A/C is being provided will you be using roof top or split system?
Can we penetrate the roof with hood vent?

Will 3 phase 208 Volt electrical service be provided to unit? 

Will conduit from the service to the suite be provided?

Will an electrical panel be provided for tenant?

Will all demising walls be in place?

If not can we increase to a 6” wall for plumbing?



Is gas available?

Is water and sewerage provided by city? 
Water


Sewerage

If not what is the permit number for the septic and water system?

Is there an existing grease trap?  

If so what is the size?

If not where is the best place to put one?
Is there a Dumpster Pad?  


If not where is the location we can put one?
Will there be hot and cold water to Dumpster Pad?


Is there any other particular information about this site that is not covered above that might cause issues with a fast food restaurant?

Please provide the following CAD drawings for new center:

Site, Electrical, Plumbing, Floor Plan, Mechanical and Elevations 

If you have any contact names or numbers for city or parish officials we may need to contact in the permitting process please list those also.  If you have any questions feel free to call me at 985-649-5832.

Thanks,

David Dammon 

Dammon Engineering

(985) 649-5832

