1. 8-19
Talked with Steve Montagnet Jr. 228-452-2203 (landlord).  He is in the design phase of the strip mall.  If we provide the plumbing drawings next week we can get it in before the concrete is poured.  He is interested in the foot print of the outside compressors for the freezer and refrigerator.  The issue is that there is only going to be 4” behind the building to the property line which has a solid fence on the property line.   The contract states that Quiznos does not require a grease trap,  check to see if the site can have an under the counter grease trap?

YES.  Under the counter grease trap with 40lb. Interceptor is acceptable.

