[image: image1.jpg]® DAMMON

ENGINEERING, INC.

~ DESIGN & CONSTRUCTION MANAGEMENT





Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net


5-23-13

Joe France
City Of Slidell

Department of Building Safety

Slidell, La.

Ref: Southside Cafe’
Southside Cafe’ has installed a Small Limited Storage Accessory building in the rear, and to make it code complainant the following shall be adhered too.

1) All wood strapping that is used shall be installed per the mfg recommendations which consist of all nail holes in the strapping to be used. 

2) Bolt header of covered porch to bldg with six lag bolts to stud wall.
3) All blocking used for supporting the structure shall be strapped down to the asphalt using ½” hilti anchors at all locations. Tighten existing strapping by taking the slack out of the strap.
4) All lumber below BFE shall be treated with copper naphthenate (wood treatment). 
5) Hydrostatic vents shall be installed in each wall per code.

6) All metal siding shall be covered or removed and a hardy board siding shall be installed.
Emmett Dammon
Dammon Engineering

Textron Marine & Land Systems Bldg 3, 2nd Floor 
Addendum No. 1



<Page 1 of 1>

